## Sheet1
Energy (GeV)	2.18					Max Data Rate ~4 kHz
Beam Pol	85%				.4/.55					4000					Energy (GeV)	Mass 3He (GeV)	Mass H (GeV)	Max Current (uA)
Target Pol	40%				x	x	x	x	x	x	x	x			Total Rate No Collimator All Paddles (Hz)	Total Rate No Collimator Paddles Off	Total Rate Collimator All Paddles	Total Rate Collimator Paddles Off					Run Plan	2.18	2.809431293	0.938272	27
		Spectrometer Angle	Q2_mean (GeV2)	Q in fm-1	Glass QE / 30uA (Hz)	He3 QE rate / 30uA (Hz)	He3 Elastic / (no cut) / 30uA (Hz)	Total Rate / 30uA (Hz)	He3 Elastic / (no cut) / 27uA (Hz)	Total Rate / 27uA (Hz)	He3 elastic / 27uA/hour	Total / 27uA/hour		Elastic Rate x0.85 to Account for Turning Off Paddles (Hz)	Simulation Total Rate x2.2 to Compensate for Lower Simulation Rate + Using QE of 2.2GeV	Total Rate /2.7 for Turning Off Paddles	Total Rate /4.7 to Account for Collimator	Total Rate /2.7 and /4.7 for Collimator and Paddles (27 uA)	Elastic Rate after Collimator (/4.7) (27 uA)	Estimated Elastic Rate to Estimated Total Background Rate	Estimated Asymmetry	Elastic Rate * Estimated Asymmetry	Ratio of Elastic Rate to Background Rate * Estimated Asymmetry		Prescale Factor Needed to be Below Max Data Rate (27 uA)	Prescale Factor Integer (27 uA)	Total Rate After Collimator, Paddles Off, and Prescale at 27 uA (Hz)	Elastic Rate After Prescale (Hz) (27 uA)	Elastics/hour After Prescale (27 uA)			Spectrometer Angle	Current (uA)	Ep (GeV)	Q2_mean (GeV2)	Q in fm-1	Estimated Total Rate (Hz)	Elastic Rate (Hz)	Total Prescale	Hall C Prescale GUI Value	Estimated Total Rate After Prescale (Hz)	Estimated Total Counts/Hour After Prescale	Elastic Rate After Prescale (Hz)	Elastics/Hour	Hours at Kinematic	Estimated Total Counts	Total Beam Charge on Target [C]	Estimated Total Elastic Counts	Estimated Asymmetry	Uncertainty on Asymmetry
	SHMS	11	0.151	4.02	151995	29704.11	1233.39	182932.5	1110.051	164639.250	3996183.6	592701300		943.543	362206	134151	77065	28543	200.754	7.08E-3	0.047	9.361	3.30E-4		7.14	8	3568	25.094	90339		SHMS	11	5	2.149	0.151	4.02	5286	37.177	2	1	2643	9514220	18.588	66918	2	19028440	0.036	133836	0.047	0.0055
	SHMS	13	0.211	5.62	67024	12186.12	170.218	79380.338	153.196	71442.304	551506.32	257192295.12		130.217	157173	58212	33441	12386	27.706	2.24E-3	0.069	1.920	1.55E-4		3.10	4	3096	6.926	24935		SHMS	13	7	2.137	0.211	5.62	3211	7.183	1	0	3211	11559879	7.183	25859	2	23119758	0.050	51717	0.069	0.0088
	SHMS	15	0.276	7.35	28991	5351.64	17.396	34360.036	15.656	30924.032	56362.07	111326516.64		13.308	68033	25197	14475	5361	2.831	5.28E-4	0.106	0.301	5.62E-5		1.34	2	2681	1.416	5097		SHMS	15	20	2.124	0.276	7.35	3971	2.097	1	0	3971	14296374	2.097	7551	4	57185497	0.288	30202	0.106	0.0115
	SHMS	16.3	0.321	8.55	11875	2369.919	3.272	14248.191	2.945	12823.372	10599.66	46164138.84		2.503	28211	10449	6002	2223	0.533	2.40E-4	0.133	0.071	3.18E-5		0.56	1	2223	0.533	1917		SHMS	16.3	27	2.114	0.321	8.55	2223	0.533	1	0	2223	8003239	0.533	1917	16	128051827	1.555	30676	0.133	0.0114
	SHMS	18.5	0.444	11.83	9223.81	1745.47	0.205	10969.485	0.185	9872.537	665.506	35541131.4		0.157	21720	8044	4621	1712	0.033	1.95E-5	-0.148	-0.005	-2.89E-6		0.43	1	1712	0.033	120		SHMS	18.5	27	2.096	0.444	11.83	1712	0.033	1	0	1712	6161583	0.033	120	0	0	0.000	0	-0.148
	HMS	11	0.142	3.78	128978	22926	1718.87	153622.87	1546.983	138260.583	5569138.8	497738098.8		1314.936	304173	112657	64718	23970	279.774	1.18E-2	0.047	13.046	5.51E-4		5.99	6	3995	46.629	167864		HMS	11	5	2.149	0.142	3.78	4439	51.810	2	1	2219	7989842	25.905	93258	0	0	0.000	0	0.047
	HMS	17.5	0.372	9.91	9712	1843.695	0.631	11556.326	0.568	10400.693	2045.746	37442496.24		0.483	22882	8475	4868	1803	0.103	5.70E-5	0.012	0.001	6.69E-7		0.45	1	1803	0.103	370		HMS	17.5	27	2.104	0.372	9.91	1803	0.103	1	0	1803	6491213	0.103	370	24	155789110	2.333	8874	0.012	0.0212