## Sheet1
Good elastic asymmetry data some paddles off.
Elastic asymmetry data all paddles on.
	SHMS	Run	Target	Pol Direction	P_shms	SHMS Angle	Start Time	End Time	Total Time (sec)	Date	El Count	Charge	Yield	Triggers	IHWP	Trigger	Prescale Value	Real Prescale	Target Current (uA)	Paddles	Comment
		11471	POL-HE3	180	-5.6	8.5	08:41:35 AM	08:42:45 AM		09/18/20	0	0	-nan	239748					Junk run - Raster check
		11472	EMPTY	180	-2.129	8.5	04:04:24 PM	04:50:32 PM		09/18/20	495153	0	inf	1337912					Beam energy measurement.
		11473	C-OPTICS	180	-2.129	8.5	06:34:01 PM	06:45:45 PM		09/18/20	989532	0.8563	1155578.6	1623504					carbon foil ion chamber calibration
		11474	REF-N2	180	-2.129	8.5	07:07:42 PM	07:24:25 PM		09/18/20	1969166	3.1462	625895.2	3739967					checking for scraping during reference cell ion chamber calibration
		11475	C-FOIL	180	-2.129	8.5	07:39:33 PM	07:43:25 PM		09/18/20	499833	1.0222	488992.5	914489					JUNK
		11476	C-FOIL	180	-2.129	8.5	07:44:30 PM	07:45:25 PM		09/18/20	115035	0.3635	316426.6	211773
		11477	C-FOIL	180	-2.129	8.5	07:48:55 PM	08:10:20 PM		09/18/20	1770718	4.7515	372665	3264242					Production
		11478	C-FOIL	180	-2.129	8.5	08:12:17 PM	08:30:02 PM		09/18/20	1501337	8.4218	178268.2	2812370
		11479	REF-H2	180	-2.129	8.5	08:34:33 PM	09:20:54 PM		09/18/20	2920956	25.7125	113600.7	7687170
		11480	REF-VAC	180	-2.129	8.5	09:24:30 PM	10:10:01 PM		09/18/20	36363	23.8471	1524.8	3315782
		11481	PICKUP-COIL	180	-2.129	8.5	10:16:40 PM	10:53:13 PM		09/18/20	2133437	19.5835	108940.4	5613609
		11482	REF-VAC	180	-2.129	8.5	11:08:45 PM	11:36:07 PM		09/18/20	8528	12.3833	688.7	464279
		11483	REF-HE3	180	-2.129	8.5	12:06:03 AM	12:09:40 AM		09/19/20	3712	0.6611	5614.7	35180					too aggressive prescales
		11484	REF-HE3	180	-2.129	8.5	12:12:45 AM	12:34:38 AM		09/19/20	374119	11.5624	32356.4	3532303
		11485	REF-HE3	180	-2.129	8.5	12:37:37 AM	12:59:30 AM		09/19/20	772176	8.7325	88425.7	3259689
		11486	REF-HE3	180	-2.129	8.5	01:03:30 AM	01:28:50 AM		09/19/20	1116287	14.7831	75510.9	3714949
		11487	REF-HE3	180	-2.129	8.5	01:30:49 AM	01:57:22 AM		09/19/20	1370192	10.5752	129566.6	3258981					EDTM switched from 480Hz to 240 Hz about 8 minutes in.
		11488	REF-HE3	180	-2.129	8.5	01:59:24 AM	02:21:41 AM		09/19/20	1866634	10.4017	179455.2	3763428
		11489	REF-HE3	180	-2.129	8.5	02:37:59 AM	02:58:12 AM		09/19/20	2049804	17.7135	115719.7	3803736
		11490	REF-HE3	180	-2.129	8.5	03:00:48 AM	03:31:44 AM		09/19/20	3342027	23.7022	141000.7	5807786
		11491	REF-HE3	180	-2.129	8.5	03:39:13 AM	04:09:14 AM		09/19/20	3245389	23.0574	140752.7	5639858
		11492	REF-HE3	180	-2.129	8.5	04:26:50 AM	05:12:49 AM		09/19/20	2830398	24.561	115239.6	7445547
	*****	11493	POL-HE3	180	-2.129	8.5	05:39:34 AM	06:38:59 AM	3565	09/19/20	3629503	25.393	142933.4	8964040	In	ps1	6	33	10	All on.
		11494	POL-HE3	180	-2.129	8.5	06:52:39 AM	07:55:06 AM	3747	09/19/20	4883546	28.9718	168561.8	8084103	In	ps1	5	17	13	1X:7-8, 2X:7-9, 1Y:1-13, 2Y:3-18
		11495	POL-HE3	180	-2.129	8.5	07:56:08 AM	08:56:48 AM	3640	09/19/20	5837209	34.9683	166928.5	9672659	In	ps1	5	17	13	1X:7-8, 2X:7-9, 1Y:1-13, 2Y:3-18
		11496	POL-HE3	180	-2.129	8.5	08:57:19 AM	09:58:35 AM	3676	09/19/20	6331759	37.7792	167599.2	10491205	In	ps1	5	17	13	1X:7-8, 2X:7-9, 1Y:1-13, 2Y:3-18
		11497	POL-HE3	180	-2.129	8.5	10:06:15 AM	11:05:09 AM	3534	09/19/20	5782255	34.6973	166648.5	9589357	Out	ps1	5	17	13	1X:7-8, 2X:7-9, 1Y:1-13, 2Y:3-18
		11498	POL-HE3	180	-2.129	8.5	11:05:41 AM	12:03:50 PM	3489	09/19/20	6362286	37.978	167525.5	10548646	Out	ps1	5	17	13	1X:7-8, 2X:7-9, 1Y:1-13, 2Y:3-18
		11499	POL-HE3	180	-2.129	8.5	12:04:19 PM	01:08:52 PM	3873	09/19/20	6568238	39.2784	167222.5	10892517	Out	ps1	5	17	13	1X:7-8, 2X:7-9, 1Y:1-13, 2Y:3-18
		11500	POL-HE3	180	-2.129	8.5	01:09:23 PM	02:11:01 PM	3698	09/19/20	6499214	38.9541	166843	10775380	Out	ps1	5	17	13	1X:7-8, 2X:7-9, 1Y:1-13, 2Y:3-18
		11501	POL-HE3	0	-2.129	8.5	02:25:43 PM	03:24:26 PM	3523	09/19/20	0	0.0001	0	0	Out	ps1	5	17	Need Replay	1X:7-8, 2X:7-9, 1Y:1-13, 2Y:3-18	Need Replay
		11502	POL-HE3	0	-2.129	8.5	03:24:57 PM	04:24:38 PM	3581	09/19/20	5422205	32.0094	169394.3	8985577	Out	ps1	5	17	13	1X:7-8, 2X:7-9, 1Y:1-13, 2Y:3-18
		11503	POL-HE3	0	-2.129	8.5	04:25:18 PM	05:27:05 PM	3707	09/19/20	6447798	38.4763	167578.4	10690819	Out	ps1	5	17	13	1X:7-8, 2X:7-9, 1Y:1-13, 2Y:3-18	Need Replay?
		11504	POL-HE3	0	-2.129	8.5	05:27:39 PM	06:29:53 PM	3734	09/19/20	6313969	37.715	167412.6	10472862	Out	ps1	5	17	13	1X:7-8, 2X:7-9, 1Y:1-13, 2Y:3-18
		11505	POL-HE3	0	-2.129	8.5	06:49:22 PM	07:49:26 PM	3604	09/19/20	6620258	39.755	166526.3	10989648	In	ps1	5	17	13	1X:7-8, 2X:7-9, 1Y:1-13, 2Y:3-18
		11506	POL-HE3	0	-2.129	8.5	07:49:59 PM	08:51:43 PM	3704	09/19/20	6351092	37.8358	167859.2	10528411	In	ps1	5	17	13	1X:7-8, 2X:7-9, 1Y:1-13, 2Y:3-18
		11507	POL-HE3	0	-2.129	8.5	08:52:17 PM	09:32:39 PM	2422	09/19/20	1003833	5.988	167642	1664917	In	ps1	5	17	13	1X:7-8, 2X:7-9, 1Y:1-13, 2Y:3-18
		11508	POL-HE3	0	-2.129	8.5	10:19:29 PM	10:20:42 PM		09/19/20	3663	0.0129	284320	5825	In	ps1	5	17	Junk	1X:7-8, 2X:7-9, 1Y:1-13, 2Y:3-18	Junk; trippy beam
		11509	POL-HE3	0	-2.129	8.5	10:44:31 PM	10:58:38 PM		09/19/20	1797336	6.5385	274886.9	2524984	In	ps1	4	9	9	Adjusting	Junk; adjusting hodoscope paddles
		11510	POL-HE3	0	-2.129	8.5	10:59:22 PM	12:00:28 AM	3666	09/20/20	6172637	27.276	226302.7	8080443	In	ps1	4	9	12	1X:7-8, 2X:7-9, 1Y:7, 2Y:10-12
		11511	POL-HE3	0	-2.129	8.5	12:01:00 AM	12:59:40 AM	3520	09/20/20	8115245	36.1157	224701.6	10637897	In	ps1	4	9	12	1X:7-8, 2X:7-9, 1Y:7, 2Y:10-12
		11512	POL-HE3	0	-2.129	8.5	01:00:34 AM	02:00:11 AM	3577	09/20/20	7410901	32.8036	225917	9695271	In	ps1	4	9	12	1X:7-8, 2X:7-9, 1Y:7, 2Y:10-12
		11513	POL-HE3	0	-2.129	8.5	02:00:46 AM	03:07:18 AM	3992	09/20/20	5335231	23.6246	225833.7	6996716	In	ps1	4	9	12	1X:7-8, 2X:7-9, 1Y:7, 2Y:10-12
		11514	PICKUP-COIL	0	-2.129	8.5	03:10:20 AM	03:10:40 AM		09/20/20	0	0	-nan	0	In	ps1	4	9	NMR	1X:7-8, 2X:7-9, 1Y:7, 2Y:10-12	NMR
		11515	POL-HE3	0	-2.129	8.5	03:18:10 AM	04:16:29 AM	3499	09/20/20	8093962	36.0877	224285.9	10596163	Out	ps1	4	9	12	1X:7-8, 2X:7-9, 1Y:7, 2Y:10-12
		11516	POL-HE3	0	-2.129	8.5	04:17:15 AM	05:14:41 AM	3446	09/20/20	7321607	32.3708	226179.3	9589647	Out	ps1	4	9	12	1X:7-8, 2X:7-9, 1Y:7, 2Y:10-12
		11517	POL-HE3	0	-2.129	8.5	05:15:15 AM	06:14:46 AM	3571	09/20/20	0	0.0001	0	0	Out	ps1	4	9	12	1X:7-8, 2X:7-9, 1Y:7, 2Y:10-12
		11518	POL-HE3	0	-2.129	8.5	06:15:16 AM	07:14:08 AM	3532	09/20/20	7432521	32.8247	226430.4	9724153	Out	ps1	4	9	12	1X:7-8, 2X:7-9, 1Y:7, 2Y:10-12
		11519	POL-HE3	0	-2.129	8.5	07:19:40 AM	07:46:13 AM	1593	09/20/20	2130294	13.8548	153758.1	5273977	Out	ps1	4	9	12	All on except Y+5 PMT off. It's the weird one. 1X:1-13, 2X:1-14, 1Y:1-13, 2Y:3-18
		11520	POL-HE3	0	-2.129	8.5	07:48:52 AM	09:16:15 AM	5243	09/20/20	3130551	41.0108	76334.9	7829798	Out	ps1	7	65	15	All on except Y+5 PMT off. It's the weird one. 1X:1-13, 2X:1-14, 1Y:1-13, 2Y:3-18
		11521	POL-HE3	0	-2.129	8.5	09:16:44 AM	09:43:48 AM	1624	09/20/20	1577804	20.9213	75416.1	3958214	Out	ps1	7	65	15	All on. Looks like Y+5 PMT back on. 1X:1-13, 2X:1-14, 1Y:1-13, 2Y:3-18
		11522	POL-HE3	0	-2.129	13	11:28:58 AM	12:25:31 PM	3393	09/20/20	3134377	26.2819	119260.1	9066102	Out	ps1	3	5	10	All on. 1X:1-13, 2X:1-14, 1Y:1-13, 2Y:3-18	all paddles on
		11523	POL-HE3	0	-2.129	13	12:33:22 PM	01:23:38 PM	3016	09/20/20	3732780	25.9951	143595.4	8586248	Out	ps1	2	3	10	1X:6-13, 2X:6-14, 1Y:1-13, 2Y:3-18
		11524	POL-HE3	0	-2.129	13	01:24:07 PM	01:59:06 PM	2099	09/20/20	2203357	15.1775	145172.5	5063021	Out	ps1	2	3	10	1X:6-13, 2X:6-14, 1Y:1-13, 2Y:3-18
		11525	POL-HE3	0	-2.129	13	02:15:42 PM	02:17:52 PM		09/20/20	149439	1.1535	129550.3	246598	Out	ps1	2	3	10	Testing paddles.
		11526	POL-HE3	0	-2.129	13	02:18:25 PM	02:20:12 PM		09/20/20	144763	0.9207	157230	237857	Out	ps1	2	3	10	Testing paddles.
		11527	POL-HE3	0	-2.129	13	02:20:48 PM	02:26:10 PM		09/20/20	418718	2.9398	142429.6	697657	Out	ps1	2	3	10	Testing paddles.
		11528	POL-HE3	0	-2.129	13	02:27:27 PM	03:23:23 PM	3356	09/20/20	4908088	25.4827	192604.7	9808689	Out	ps1	1	2	10	1X:6-13, 2X:6-14, 1Y:5-9, 2Y:7-13
		11529	POL-HE3	0	-2.129	13	03:23:55 PM	04:33:19 PM	4164	09/20/20	6724883	35.0107	192080.7	13444273	Out	ps1	1	2	10	1X:6-13, 2X:6-14, 1Y:5-9, 2Y:7-13
		11530	POL-HE3	359.9	-2.129	13	04:50:26 PM	05:16:50 PM	1584	09/20/20	2355940	12.2753	191926	4717954	In	ps1	1	2	10	1X:6-13, 2X:6-14, 1Y:5-9, 2Y:7-13
		11531	POL-HE3	0	-2.129	13	06:40:04 PM	07:39:13 PM	3549	09/20/20	4229652	21.5561	196216.3	8393293	In	ps1	1	2	10	1X:6-13, 2X:6-14, 1Y:5-9, 2Y:7-13
		11532	POL-HE3	0	-2.129	13	07:40:24 PM	08:05:18 PM	1494	09/20/20	0	0.0001	0	0	In	ps1	1	2	10	1X:6-13, 2X:6-14, 1Y:5-9, 2Y:7-13	I think there's some useful data here still. Old note: JUNK (no beam, stopped early)
		11533	POL-HE3	0	-2.129	13	09:30:32 PM	09:31:04 PM		09/20/20	51312	0.6863	74768.5	103659	In	ps1	3	5	Short	1X:6-13, 2X:6-14, 1Y:5-9, 2Y:7-13
		11534	POL-HE3	0	-2.129	13	09:31:41 PM	09:32:58 PM		09/20/20	0	0	-nan	6	In	ps1	3	5	Short	1X:6-13, 2X:6-14, 1Y:5-9, 2Y:7-13
		11535	POL-HE3	0	-2.129	13	09:33:34 PM	10:15:58 PM	2544	09/20/20	1739431	23.4659	74125.8	3512926	In	ps1	3	5	20,25,30	1X:6-13, 2X:6-14, 1Y:5-9, 2Y:7-13
		11536	POL-HE3	0	-2.129	13	10:28:32 PM	10:51:29 PM	1377	09/20/20	347960	4.8919	71129.9	705281	In	ps1	3	5	30	1X:6-13, 2X:6-14, 1Y:5-9, 2Y:7-13
		11537	POL-HE3	0	-2.129	13	11:13:52 PM	12:41:10 AM	5238	09/21/20	4859807	70.0638	69362.6	9887959	In	ps1	3	5	30	1X:6-13, 2X:6-14, 1Y:5-9, 2Y:7-13
		11538	POL-HE3	0	-2.129	13	12:41:56 AM	01:51:30 AM	4174	09/21/20	6787528	97.661	69500.9	13802188	In	ps1	3	5	30	1X:6-13, 2X:6-14, 1Y:5-9, 2Y:7-13
		11539	POL-HE3	0	-2.129	13	01:52:14 AM	02:49:45 AM	3451	09/21/20	3376796	48.2846	69935.3	6865134	In	ps1	3	5	30	1X:6-13, 2X:6-14, 1Y:5-9, 2Y:7-13
		11540	POL-HE3	2	-2.129	13	04:58:08 AM	06:02:13 AM	3845	09/21/20	5092515	72.4928	70248.6	10338518	In	ps1	3	5	30	1X:6-13, 2X:6-14, 1Y:5-9, 2Y:7-13	Parity DAQ was in a weird state for most of this run. Probably still fine.
		11541	POL-HE3	2	-2.129	13	06:02:46 AM	07:00:47 AM	3481	09/21/20	4421377	63.3521	69790.5	8988171	In	ps1	3	5	30	1X:6-13, 2X:6-14, 1Y:5-9, 2Y:7-13
					seconds	hours	Est 50% Up Time (sec)	Very very rough elastic rate (Hz)	Rough Elastic Events	Uncertainty on Asymmetry
					Total Time 8.5 deg some paddles off	78735	21.8708333333	39367.5	47.9858156028	1889081.59574469	0.0007275698
					Total Time 13 deg some paddles off	43372	12.0477777778	21686	7.182958156	155769.630571631	0.0025337199

	HMS	Run	Target	Pol Direction	P_hms	HMS Angle	Start Time	End Time		Date	El Count	Charge	Yield	Triggers	IHWP	Trigger	Prescale Value	Real Prescale		Paddles	Comment
		4265	POL-HE3	180	-4.2	11.7	08:41:29 AM	08:42:48 AM		09/18/20	0	0	-nan	7					Junk run - Raster check
		4266	EMPTY	180	-2.082	11.7	04:04:20 PM	04:50:31 PM		09/18/20	269609	0	inf	1238735					Beam energy measurement.
		4267	C-OPTICS	180	-2.082	11.7	06:34:01 PM	06:45:48 PM		09/18/20	1258775	0.8843	1423485.2	2641829					carbon foil ion chamber calibration
		4268	REF-N2	180	-2.082	11.7	07:07:38 PM	07:24:27 PM		09/18/20	2512793	3.2948	762643.3	6140812					checking for scraping during reference cell ion chamber calibration
		4269	C-FOIL	180	-2.082	11.7	07:39:28 PM	07:43:27 PM		09/18/20	695447	1.1002	632091.9	1522634					Junk
		4270	C-FOIL	180	-2.082	11.7	07:48:53 PM	08:10:21 PM		09/18/20	1800635	4.9735	362043.5	3973358					Production
		4271	C-FOIL	180	-2.082	11.7	08:12:12 PM	08:30:03 PM		09/18/20	1597082	8.8366	180734.8	3552586
		4272	REF-H2	180	-2.082	11.7	08:34:24 PM	09:20:54 PM		09/18/20	1550237	26.6913	58080.3	8829949
		4273	REF-VAC	180	-2.082	11.7	09:24:25 PM	10:10:00 PM		09/18/20	61938	24.6545	2512.2	5960447
		4274	PICKUP-COIL	180	-2.082	11.7	10:16:38 PM	10:53:15 PM		09/18/20	1106690	20.2714	54593.6	4907571
		4275	REF-VAC	180	-2.082	11.7	11:08:40 PM	11:36:09 PM		09/18/20	9997	12.8124	780.3	2028921
		4276	REF-VAC	180	-2.082	11.7	11:38:01 PM	11:54:45 PM		09/18/20	6730	8.6952	774	1377701
		4277	REF-HE3	180	-2.082	11.7	12:05:59 AM	12:09:42 AM		09/19/20	2448	0.704	3477.1	116751					too aggressive prescales
		4278	REF-HE3	180	-2.082	11.7	12:12:40 AM	12:34:36 AM		09/19/20	79218	11.9793	6612.9	3779987
		4279	REF-HE3	180	-2.082	11.7	12:37:35 AM	12:59:32 AM		09/19/20	151675	9.0938	16678.9	3014763
		4280	REF-HE3	180	-2.082	11.7	01:03:24 AM	01:28:52 AM		09/19/20	355592	15.3716	23133.1	5227615
		4281	REF-HE3	180	-2.082	11.7	01:30:48 AM	01:58:30 AM		09/19/20	449535	10.972	40971	4041961					EDTM switched from 480Hz to 240 Hz about 8 minutes in.
		4282	REF-HE3	180	-2.082	11.7	01:59:10 AM	02:21:57 AM		09/19/20	633894	10.8535	58404.5	4296544					EDTM really 240 Hz
		4283	REF-HE3	180	-2.082	11.7	02:37:48 AM	02:58:04 AM		09/19/20	692548	18.3948	37649.2	3946194
		4284	REF-HE3	180	-2.082	11.7	03:00:42 AM	03:31:46 AM		09/19/20	1130494	24.4875	46166.1	5579681
		4285	REF-HE3	180	-2.082	11.7	03:38:51 AM	04:09:48 AM		09/19/20	1096083	23.8172	46020.6	5423430
		4286	REF-HE3	180	-2.082	11.7	04:26:38 AM	05:13:56 AM		09/19/20	1509949	25.4368	59360.9	8602759
	*****	4287	POL-HE3	180	-2.082	11.7	05:39:30 AM	06:39:01 AM	3571	09/19/20	1961529	26.2439	74742.3	10249891	In	ps1	6	33	10	All on.
		4288	POL-HE3	180	-2.082	11.7	06:52:32 AM	07:55:06 AM	3754	09/19/20	1710509	29.7874	57423.8	7799137	In	ps1	6	33	13	1X:7-16, 2X:7-16, 1Y:1-10, 2Y:1-10
		4289	POL-HE3	180	-2.082	11.7	07:56:03 AM	08:56:51 AM	3648	09/19/20	2050748	35.8648	57179.9	9366762	In	ps1	6	33	13	1X:7-16, 2X:7-16, 1Y:1-10, 2Y:1-10
		4290	POL-HE3	180	-2.082	11.7	08:57:14 AM	09:58:35 AM	3681	09/19/20	2225205	38.8249	57313.9	10150435	In	ps1	6	33	13	1X:7-16, 2X:7-16, 1Y:1-10, 2Y:1-10
		4291	POL-HE3	180	-2.082	11.7	10:06:08 AM	11:05:10 AM	3542	09/19/20	2036119	35.634	57139.8	9322944	Out	ps1	6	33	13	1X:7-16, 2X:7-16, 1Y:1-10, 2Y:1-10
		4292	POL-HE3	180	-2.082	11.7	11:05:35 AM	12:03:50 PM	3495	09/19/20	2241899	39.1746	57228.3	10249922	Out	ps1	6	33	13	1X:7-16, 2X:7-16, 1Y:1-10, 2Y:1-10
		4293	POL-HE3	180	-2.082	11.7	12:04:16 PM	01:08:53 PM	3877	09/19/20	2317000	40.438	57297.5	10580432	Out	ps1	6	33	13	1X:7-16, 2X:7-16, 1Y:1-10, 2Y:1-10
		4294	POL-HE3	180	-2.082	11.7	01:09:21 PM	02:11:33 PM	3732	09/19/20	2290612	40.0797	57151.4	10478100	Out	ps1	6	33	13	1X:7-16, 2X:7-16, 1Y:1-10, 2Y:1-10
		4295	POL-HE3	0	-2.082	11.7	02:25:02 PM	03:24:28 PM	3566	09/19/20	0	0.0001	0	0	Out	ps1	6	33	Need Replay	1X:7-16, 2X:7-16, 1Y:1-10, 2Y:1-10
		4296	POL-HE3	0	-2.082	11.7	03:24:51 PM	04:24:41 PM	3590	09/19/20	1900123	33.0015	57576.9	8638476	Out	ps1	6	33	13	1X:7-16, 2X:7-16, 1Y:1-10, 2Y:1-10
		4297	POL-HE3	0	-2.082	11.7	04:25:12 PM	05:27:06 PM	3714	09/19/20	2273411	39.6042	57403.3	10348553	Out	ps1	6	33	13	1X:7-16, 2X:7-16, 1Y:1-10, 2Y:1-10
		4298	POL-HE3	0	-2.082	11.7	05:27:31 PM	06:29:52 PM	3741	09/19/20	2226202	38.7592	57436.8	10142636	Out	ps1	6	33	13	1X:7-16, 2X:7-16, 1Y:1-10, 2Y:1-10
		4299	POL-HE3	0	-2.082	11.7	06:49:16 PM	07:49:29 PM	3613	09/19/20	2344147	40.8772	57346.1	10682561	In	ps1	6	33	13	1X:7-16, 2X:7-16, 1Y:1-10, 2Y:1-10
		4300	POL-HE3	0	-2.082	11.7	07:49:54 PM	08:51:44 PM	3710	09/19/20	2236215	38.9188	57458.5	10176421	In	ps1	6	33	13	1X:7-16, 2X:7-16, 1Y:1-10, 2Y:1-10
		4301	POL-HE3	0	-2.082	11.7	08:52:11 PM	09:32:38 PM	2427	09/19/20	356670	6.2208	57334.9	1621853	In	ps1	6	33	13	1X:7-16, 2X:7-16, 1Y:1-10, 2Y:1-10
		4302	POL-HE3	0	-2.082	11.7	10:19:22 PM	10:20:43 PM		09/19/20	1102	0.0104	106292.3	4973	In	ps1	6	33	Junk	1X:7-16, 2X:7-16, 1Y:1-10, 2Y:1-10	Junk; trippy beam
		4303	POL-HE3	0	-2.082	11.7	10:44:29 PM	10:58:39 PM		09/19/20	448172	6.8208	65706.9	2803159	In	ps1	3	5	9	Adjusting	Junk; adjusting hodoscope paddles
		4304	POL-HE3	0	-2.082	11.7	10:59:19 PM	12:00:26 AM	3667	09/20/20	1972556	28.0792	70249.7	9011342	In	ps1	3	5	12	1X:10-16, 2X:10-16, 1Y:4-6, 2Y:4-6
		4305	POL-HE3	0	-2.082	11.7	12:00:53 AM	12:59:37 AM	3524	09/20/20	2608614	37.2361	70056	11936153	In	ps1	3	5	12	1X:10-16, 2X:10-16, 1Y:4-6, 2Y:4-6
		4306	POL-HE3	0	-2.082	11.7	01:00:27 AM	02:00:11 AM	3584	09/20/20	2371695	33.8428	70079.8	10840947	In	ps1	3	5	12	1X:10-16, 2X:10-16, 1Y:4-6, 2Y:4-6
		4307	POL-HE3	0	-2.082	11.7	02:00:42 AM	03:07:15 AM	3993	09/20/20	1709615	24.367	70161.2	7822596	In	ps1	3	5	12	1X:10-16, 2X:10-16, 1Y:4-6, 2Y:4-6
		4308	PICKUP-COIL	0	-2.082	11.7	03:10:15 AM	03:10:39 AM		09/20/20	0	0.0001	0	0	In	ps1	3	5	NMR	1X:10-16, 2X:10-16, 1Y:4-6, 2Y:4-6	NMR
		4309	POL-HE3	0	-2.082	11.7	03:18:01 AM	04:16:26 AM	3505	09/20/20	2605706	37.2491	69953.5	11913043	Out	ps1	3	5	12	1X:10-16, 2X:10-16, 1Y:4-6, 2Y:4-6
		4310	POL-HE3	0	-2.082	11.7	04:17:14 AM	05:14:43 AM	3449	09/20/20	2339746	33.3392	70180.1	10685956	Out	ps1	3	5	12	1X:10-16, 2X:10-16, 1Y:4-6, 2Y:4-6
		4311	POL-HE3	0	-2.082	11.7	05:15:14 AM	06:14:49 AM	3575	09/20/20	2493780	35.5907	70068.4	11412194	Out	ps1	3	5	12	1X:10-16, 2X:10-16, 1Y:4-6, 2Y:4-6
		4312	POL-HE3	0	-2.082	11.7	06:15:15 AM	07:14:08 AM	3533	09/20/20	2368541	33.8404	69991.5	10824407	Out	ps1	3	5	12	1X:10-16, 2X:10-16, 1Y:4-6, 2Y:4-6
		4313	POL-HE3	0	-2.082	11.7	07:19:35 AM	07:46:16 AM	1601	09/20/20	1666303	14.3436	116170.1	8701391	Out	ps1	? prob 7	#VALUE!	12	All on. 1X:1-16, 2X:1-16, 1Y:1-10, 2Y:1-10	No start of run entry.
		4314	POL-HE3	0	-2.082	11.7	07:48:45 AM	08:49:19 AM	3634	09/20/20	824269	21.9954	37474.6	4341495	Out	ps1	7	65	15	All on. 1X:1-16, 2X:1-16, 1Y:1-10, 2Y:1-10
		4315	POL-HE3	0	-2.082	17	08:59:30 AM	09:00:29 AM		09/20/20	2918	0.8124	3591.8	15953	Out	ps1	7	65	15	All on. 1X:1-16, 2X:1-16, 1Y:1-10, 2Y:1-10
		4316	POL-HE3	0	-2.082	17	09:01:07 AM	09:08:45 AM	458	09/20/20	296832	6.1023	48642.8	1559811	Out	ps1	3	5	15	All on. 1X:1-16, 2X:1-16, 1Y:1-10, 2Y:1-10
		4317	POL-HE3	0	-2.082	17	09:09:17 AM	09:29:07 AM	1190	09/20/20	690558	14.158	48775	3620170	Out	ps1	3	5	15	All on. 1X:1-16, 2X:1-16, 1Y:1-10, 2Y:1-10
		4318	POL-HE3	0	-2.082	17	09:29:40 AM	09:35:39 AM	359	09/20/20	255649	5.2573	48627.8	1341203	Out	ps1	3	5	15	All on. 1X:1-16, 2X:1-16, 1Y:1-10, 2Y:1-10
		4319	POL-HE3	0	-2.082	17	09:36:07 AM	09:40:13 AM	246	09/20/20	148296	3.0507	48610.6	780318	Out	ps1	3	5	15	All on. 1X:1-16, 2X:1-16, 1Y:1-10, 2Y:1-10
		4320	POL-HE3	0	-2.082	17	11:28:56 AM	11:54:17 AM	1521	09/20/20	1028346	13.0591	78745.6	6545033	Out	ps1	0	1	10	Also 2X-9 PMT was off for some reason. 1X:7-16, 2X:7-16, 1Y:1-10, 2Y:1-10
		4321	POL-HE3	0	-2.082	17	11:59:56 AM	12:58:07 PM	3491	09/20/20	2329731	29.4293	79163.6	14893591	Out	ps1	0	1	10	2X-9 PMT back on. 1X:7-16, 2X:7-16, 1Y:1-10, 2Y:1-10
		4322	POL-HE3	0	-2.082	17	12:58:32 PM	02:40:52 PM	6140	09/20/20	4005546	50.625	79121.8	25631620	Out	ps1	0	1	10	1X:7-16, 2X:7-16, 1Y:1-10, 2Y:1-10	(Not sure this junk label is correct paddles looked fine.) Junk, a 2x- channel HV off
		4323	POL-HE3	0	-2.082	17	02:41:17 PM	03:39:33 PM	3496	09/20/20	2156454	27.204	79269.9	13799391	Out	ps1	0	1	10	1X:7-16, 2X:7-16, 1Y:1-10, 2Y:1-10
		4324	POL-HE3	0	-2.082	17	03:39:56 PM	04:33:25 PM	3209	09/20/20	2230370	28.168	79180.9	14264446	Out	ps1	0	1	10	1X:7-16, 2X:7-16, 1Y:1-10, 2Y:1-10
		4325	POL-HE3	0	-2.082	17	04:50:25 PM	05:16:52 PM	1587	09/20/20	1008980	12.7033	79426.8	6449985	In	ps1	0	1	10	1X:7-16, 2X:7-16, 1Y:1-10, 2Y:1-10
		4326	POL-HE3	0	-2.082	17	06:39:59 PM	07:25:45 PM	2746	09/20/20	1346582	16.5737	81247.9	8456668	In	ps1	0	1	10	1X:7-16, 2X:7-16, 1Y:1-10, 2Y:1-10
		4327	POL-HE3	0	-2.082	17	07:31:24 PM	07:56:35 PM	1511	09/20/20	360647	4.3941	82074.9	2257465	In	ps1	0	1	10	1X:7-16, 2X:7-16, 1Y:1-10, 2Y:1-10
		4328	POL-HE3	0	-2.082	17	09:30:26 PM	10:15:57 PM	2731	09/20/20	620600	25.3584	24473.2	3307844	In	ps1	0	1	20,25	1X:8-9, 2X:8-9, 1Y:4-6, 2Y:4-6
		4329	POL-HE3	0	-2.082	17	10:28:26 PM	10:51:31 PM	1385	09/20/20	124493	5.1723	24069.1	672204	In	ps1	0	1	30	1X:8-9, 2X:8-9, 1Y:4-6, 2Y:4-6
		4330	POL-HE3	0	-2.082	17	11:13:47 PM	12:41:09 AM	5242	09/21/20	1729019	71.7172	24108.8	9298042	In	ps1	0	1	30	1X:8-9, 2X:8-9, 1Y:4-6, 2Y:4-6
		4331	POL-HE3	0	-2.082	17	12:41:50 AM	01:51:31 AM	4181	09/21/20	2412985	99.8669	24162	12956961	In	ps1	0	1	30	1X:8-9, 2X:8-9, 1Y:4-6, 2Y:4-6
		4332	POL-HE3	0	-2.082	17	01:52:12 AM	02:49:46 AM	3454	09/21/20	1189254	49.3339	24106.2	6407627	In	ps1	0	1	30	1X:8-9, 2X:8-9, 1Y:4-6, 2Y:4-6
		4333	POL-HE3	2	-2.082	17	04:58:02 AM	06:02:12 AM	3850	09/21/20	1799903	74.1312	24280	9649424	In	ps1	0	1	30	1X:8-9, 2X:8-9, 1Y:4-6, 2Y:4-6	Parity DAQ was in a weird state for most of this run. Probably still fine.
		4334	POL-HE3	2	-2.082	17	06:02:38 AM	07:00:48 AM	3490	09/21/20	1563021	64.7817	24127.5	8394425	In	ps1	0	1	30	1X:8-9, 2X:8-9, 1Y:4-6, 2Y:4-6
					seconds	hours	Est 50% Up Time (sec)	Very very rough elastic rate (Hz)	Rough Elastic Events	Uncertainty on Asymmetry
					Total Time 11.7 deg some paddles off	78920	21.9222222222	39460	14.588626278	575667.19292935	0.0013179965
					Total Time 17 deg some paddles off	48034	13.3427777778	24017	0.127538322	3063.0878798156	0.0180684239